## Slide 1: Virtual digital signal processing using LabVIEW
Project Report
R K Rupesh
Mentors – Dr Joby Antony & Rajesh Nirdoshi
With signal processing applications for ac susceptibility measurements
Notes: Hello everyone, my name is Rupesh, im doing my integrated masters in physics from university of hyderabad

## Slide 2: Virtual instrumentation
Virtual instruments are a fundamental shift from traditional hardware-centered instrumentation
software-centered systems exploit computing power and connectivity capabilities of PC
Environmental Noise-free Processing
e.g. Virtual world during Covid-19 !!!
Notes: Virtual instruments are fundamentaly different from hardware based instrumentation like oscilloscopes, signal generators etc since they capitalize on the computational power of a computer to perform the tasks

## Slide 3: Noises
DISCRIMINATOR
TRUE
FALSE
Real world Images
Noise Generator
There’s noise in every measurement!
Notes: Hence we have to come up with some system to differenciate the noise from the signal

## Slide 4: Digital Filters
Digital filters offer highly customizability without disturbing the circuit
Temperature Independent function
They have a steep frequency response
Linear phase shift
a) Order 2
b) Order 8
c) Order 13
Notes: That brings us to the idea of using digital filters for signal processing. Temperature drift

## Slide 5: Phasor diagram

## Slide 6: Signal Mixing
Notes: Two signals of different frequencies

## Slide 7: Signal Mixing

## Slide 8: Extracting Phase and Amplitude information
Changing Input Phase
Phase Information extracted by signal Mixing and demodulating
Notes: The plot in white colour is the input and the plot in red one is the output

## Slide 9: Lock-in Amplifier – An Advanced noise removing method
Lock-in amplifiers are capable of measuring the amplitude and the phase of a signal relative to a defined reference signal, even if the signal is buried in noise

## Slide 10: Principle of Phase Sensitive Detection
The Real Part

## Slide 11: Principle of Phase Sensitive Detection
The Quadrature Part
Y
Y

## Slide 12: Principle of Dual Phase Lock-in Amplifier
S

## Slide 13: 100Hz signal with noise
Signal
DC
DC

## Slide 14: A Digital Lock-in Amplifier
Noise + Signal
Reference signal
Notes: Start with multiplication

## Slide 15: Application of Lock-in Amplifiers can be found in many every day Technologies, Physics and other Fields in Research
Atomic Force Microscope
Radio and telecommunication

## Slide 16: AC Susceptometer – A Case Study
Sample and T-sensor
AC Susceptometer is used to measure changes in magnetic field due to the presence of a magnetic sample

## Slide 17: Magnetic Phase Transition of YBCO
Source: Superconductiviting Transition by using Mutual-inductance coil, Joby , Sumit , Vineet and A.K.Rastogi
Notes: An implementation of this idea was done at iuac

## Slide 18: Tasks Achieved
Learning LabVIEW programming
Mathematics of signal mixing
Designing a program for observing signal mixing and extracting phase
Mathematics of different filters
Simulating a low-pass filter in LabVIEW and generating a bode plot
Case study of AC susceptometer as an application
References
https://www.zhinst.com/americas/resources/principles-lock-detection
Sabyasachi Bhattacharyya et al 2016 J. Phys.: Conf. Ser. 759 012096
AC Susceptibility Measurements in High-Tc Superconductors, Experiment ACS, University of Florida