## Slide 1: Virtual digital signal processing using LabVIEW
for signal processing applications like ac susceptibility measurements
Project Report
R K Rupesh

## Slide 2: Virtual instrumentation
Virtual instruments are a fundamental shift from traditional hardware-centered instrumentation
software-centered systems exploit computing power and connectivity capabilities of PC
Environmental Noise-free Processing
e.g. Virtual world during Covid-19 !!!

## Slide 3: Noises
DISCRIMINATOR
TRUE
FALSE
Real world Images
Noise Generator
There’s noise in every measurement!

## Slide 4: Digital Filters
Digital filters produce almost zero noise
Digital filters are highly customizable
They have a steep frequency response
a) Order 2
b) Order 8
c) Order 13

## Slide 5: Phasor diagram

## Slide 6: Signal Mixing

## Slide 7: Signal Mixing

## Slide 8: Extracting Phase and Amplitude information
Changing Input Phase
Phase Information extracted by signal Mixing and demodulating

## Slide 9: Lock-in Amplifier – An Advanced filter
Lock-in amplifiers are capable of measuring the amplitude and the phase of a signal relative to a defined reference signal, even if the signal is buried in noise

## Slide 10: Principle of Phase Sensitive Detection
The Real Part

## Slide 11: Principle of Phase Sensitive Detection
The Quadrature Part
Y
Y

## Slide 12: The frequency domain and Fourier transform
The Fourier transform converts a sinusoidal function with frequency f0 in the time domain into a Dirac delta function δ(f-f0) in the frequency domain

## Slide 13: Filtering

## Slide 14: 100Hz signal with noise
Signal
DC
DC

## Slide 15: Principle of Dual Phase Lock-in Amplifier
S

## Slide 16: A Digital Lock-in Amplifier

## Slide 17: Application of Advanced filters can be found in many fields in every day Technology, Physics and Research
Atomic Force Microscope
Radio and telecommunication

## Slide 18: Case Study: AC Susceptometer
Sample and T-sensor
AC Susceptometer is used to measure changes in magnetic field due to the presence of a magnetic sample

## Slide 19: The Theory of AC Susceptometer
For some materials, x’’ is nearly zero. If x’’=0, the magnetization will be perfectly in phase with Ha for a paramagnetic material (X’ > 0) and will be 180deg out of phase for a diamagnetic material]

## Slide 20: Magnetic Phase Transition of YBCO

## Slide 21: Tasks Achieved
Learning LabVIEW programming
Simulating a sine wave in LabVIEW
Designing a program for observing signal mixing
Mathematics of signal mixing
Extracting phase information from signal mixing
Mathematics of different filters
Simulating a low-pass filter in LabVIEW and generating a bode plot
Mathematics of lock-in amplifiers
Case study of AC susceptometer as an application